## Data Export
Part Number | Manufacturer | Designation | Description | Product Group | Link
RIT.8806000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 800x2000x600 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8806000/id-933976?page=1
RIT.8206000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1200x2000x600 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8206000/id-933743?page=1
RIT.8205000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1200x2000x500 mm, sheet steel, with mounting plate, two doors at the front | None | https://dataportal.eplan.com/part-details/Rittal/RIT.8205000/id-933742?page=1
RIT.3110000 | Rittal | Thermostat / SK Thermostat, enclosure internal thermostat, 24-230 V, 1~, 24-60 V (DC), Colour RAL 7035, WHD: 71 x 71 x 33.5 mm | None | Electrical engineering > Amplifiers, controllers > General | https://dataportal.eplan.com/part-details/Rittal/RIT.3110000/id-420910?page=1
RIT.8805000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 800x2000x500 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8805000/id-933975?page=1
SE.LC1D09BD | Schneider Electric | TeSys Deca contactor - 3P(3 NO) - AC-3 - = 440 V 9 A - 24 V DC coil / Coil 24 V DC | TeSys Deca contactor - 3P(3 NO) - AC-3 - <lt/>= 440 V 9 A - 24 V DC coil | Electrical engineering > Relays, contactors > Contactors | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.LC1D09BD/id-429993?page=1
RIT.8606000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 600x2000x600 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8606000/id-933766?page=1
SIE.6ES7193-6BP00-0DA0 | Siemens | SIMATIC ET 200SP BU type A0 BU15-P16+A0+2D | SIMATIC ET 200SP, BaseUnit BU15-P16+A0+2D, BU type A0, push-in terminals, without aux. terminals, new load group, WxH: 15x 117 mm | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7193-6BP00-0DA0/id-458591?page=1
SIE.6ES7193-6BP00-0BA0 | Siemens | SIMATIC ET 200SP BU type A0 BU15-P16+A0+2B | SIMATIC ET 200SP, BaseUnit BU15-P16+A0+2B, BU type A0, Push-in terminals, without AUX terminals, bridged to the left, WxH: 15x 117 mm | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7193-6BP00-0BA0/id-458589?page=1
SIE.6ES7193-6AR00-0AA0 | Siemens | ET 200SP, BA 2XRJ45 / SIMATIC DP, ET 200SP | SIMATIC ET 200SP, BUSADAPTER BA 2X RJ45, 2 RJ45 SOCKETS FOR PROFINET | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7193-6AR00-0AA0/id-458588?page=1
RIT.8005000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1000x2000x500 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8005000/id-933717?page=1
SIE.5ST3010 | Siemens | SENTRON Auxiliary current switch Mountable | auxiliary current switch, 1 NO+1 NC for miniature circuit breaker 5SL, 5SY, 5SP Incorporated switch 5TL1, RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3010/id-648875?page=1
RIT.1050000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 500x500x210 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1050000/id-995171?page=1
RIT.8006000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1000x2000x600 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8006000/id-933718?page=1
RIT.8806500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 800x2000x600 mm, Sheet steel, with mounting plate, single door at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8806500/id-424217?page=1
SE.LC1D09P7 | Schneider Electric | TeSys Deca contactor - 3P(3 NO) - AC-3 - = 440 V 9 A - 230 V AC coil | TeSys Deca contactor - 3P(3 NO) - AC-3 - <lt/>= 440 V 9 A - 230 V AC coil | Electrical engineering > Relays, contactors > Contactors | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.LC1D09P7/id-430009?page=1
RIT.8004000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1000x2000x400 mm, sheet steel, with mounting plate, two doors at the front | None | https://dataportal.eplan.com/part-details/Rittal/RIT.8004000/id-933716?page=1
RIT.8804000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 800x2000x400 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8804000/id-933974?page=1
RIT.8605000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 600x2000x500 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8605000/id-933765?page=1
RIT.8606500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 600x2000x600 mm, Sheet steel, with mounting plate, single door at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8606500/id-424206?page=1
PXC.3209510 | Phoenix Contact | Feed-through terminal block / Feed-through terminal block | Feed-through terminal block, nom. voltage: 800 V, nominal current: 24 A, number of connections: 2, number of positions: 1, connection method: Push-in connection, Rated cross section: 2.5 mm², cross section: 0.14 mm² - 4 mm², mounting type: NS 35/7,5, NS 35/15, color: gray | Electrical engineering > Terminals > Terminal | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3209510/id-418078?page=2
SIE.6ES7214-1AG40-0XB0 | Siemens | CPU 1214C, DC/DC/DC, 14DI/10DO/2AI / SIMATIC, S7-1200 | SIMATIC S7-1200, CPU 1214C, compact CPU, DC/DC/DC, onboard I/O: 14 DI 24 V DC/ 10 DO 24 V DC/ 2 AI 0-10 V DC, Power supply: DC 20.4-28.8V DC, Program/data memory 100 KB | None | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7214-1AG40-0XB0/id-707466?page=2
RIT.8005500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1000x2000x500 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8005500/id-424177?page=2
RIT.8884000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 800x1800x400 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8884000/id-933984?page=2
SIE.6AV2124-0GC01-0AX0 | Siemens | SIMATIC HMI TP700 COMFORT / SIMATIC, HMI, Comfort Panel | SIMATIC HMI TP700 Comfort, Comfort Panel, Touch operation, 7" widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | None | https://dataportal.eplan.com/part-details/Siemens/SIE.6AV2124-0GC01-0AX0/id-456743?page=2
RIT.8886500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 800x1800x600 mm, Sheet steel, with mounting plate, single door at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8886500/id-424227?page=2
RIT.1060000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 600x600x210 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1060000/id-995177?page=2
RIT.8006500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1000x2000x600 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8006500/id-424178?page=2
FES.153227 | Festo | Multiple distributor | Pneumatic connection 1 : External thread R1/4¶Pneumatic connection 2 : for pneumatic tubing outside diameter 10 mm¶No. of supply lines : 1¶No. of outlets : 3 | Fluid power > Accessories (fluid) > Screw connections | https://dataportal.eplan.com/part-details/Festo/FES.153227/id-109029?page=2
SIE.6ES7193-6BP20-0DA0 | Siemens | SIMATIC ET 200SP BU type A0 BU15-P16+A10+2D | SIMATIC ET 200SP, BaseUnit BU15-P16+A10+2D, BU type A0, Push-in terminals, with 10 AUX terminals, New load group, WxH: 15 mmx141 mm | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7193-6BP20-0DA0/id-458594?page=2
RIT.1180000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 800x1000x300 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1180000/id-995189?page=2
RIT.8285000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1200x1800x500 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8285000/id-933750?page=2
SIE.6ES7193-6BP20-0BA0 | Siemens | SIMATIC ET 200SP BU type A0 BU15-P16+A10+2B | SIMATIC ET 200SP, BaseUnit BU15-P16+A10+2B, BU type A0, Push-in terminals, with 10 AUX terminals, bridged to the left, WxH: 15 mmx141 mm | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7193-6BP20-0BA0/id-458593?page=2
SIE.6AV2123-2GB03-0AX0 | Siemens | SIMATIC HMI KTP700 Basic / SIMATIC , HMI , Basic Panel | SIMATIC HMI, KTP700 Basic, Basic Panel, Key/touch operation, 7" TFT display, 65536 colors, PROFINET interface, configurable from WinCC Basic V13/ STEP 7 Basic V13, contains open-source software, which is provided free of charge see enclosed CD | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6AV2123-2GB03-0AX0/id-706956?page=2
RIT.1054000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 600x600x250 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1054000/id-995172?page=2
RIT.8204500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1200x2000x400 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8204500/id-424181?page=2
RIT.8204000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1200x2000x400 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8204000/id-933741?page=2
SIE.3RV2901-1E | Siemens | TRANSVERSE AUX. SWITCH, 1NO+1NC, SCREW CONNECTION / FOR CIRCUIT-BREAKERS, SZ S00/S0 | TRANSVERSE AUX. SWITCH, 1NO+1NC, SCREW CONNECTION, FOR CIRCUIT-BREAKERS, SZ S00/S0 , | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RV2901-1E/id-453081?page=2
PXC.2905744 | Phoenix Contact | Device circuit breaker / Electronic circuit breaker | Multi-channel, electronic circuit breaker with active current limitation for protecting eight loads at 24 V DC in the event of overload and short circuit. With nominal current assistant and electronic locking of the set nominal currents. For installation on DIN rails. | Electrical engineering > Protection devices > Circuit breaker | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.2905744/id-521179?page=2
PXC.3022276 | Phoenix Contact | End bracket for terminal block / End bracket | End bracket, material: PA, mounting type: NS 35/7,5, NS 35/15, color: gray | Electrical engineering > Terminals > End clamp | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3022276/id-415885?page=2
RIT.8004500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1000x2000x400 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8004500/id-424176?page=3
RIT.8206500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1200x2000x600 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8206500/id-424183?page=3
SIE.6AV2124-0MC01-0AX0 | Siemens | SIMATIC HMI TP1200 COMFORT / SIMATIC, HMI, Comfort Panel | SIMATIC HMI TP1200 Comfort, Comfort Panel, Touch operation, 12" Widescreen TFT display, 16 million colors, PROFINET interface, MPI/PROFIBUS DP interface, 12 MB configuration memory, Windows CE 6.0, configurable from WinCC Comfort V11 | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6AV2124-0MC01-0AX0/id-456745?page=3
SIE.3RT2015-1BB41 | Siemens | CONTACTOR,AC3:3KW 1NO DC24V / SIRIUS Power contactor | CONTACTOR, AC-3, 3KW/400V, 1NO, DC 24V, 3-POLE, SZ S00 SCREW TERMINAL | Electrical engineering > Relays, contactors > Contactors | https://dataportal.eplan.com/part-details/Siemens/SIE.3RT2015-1BB41/id-451627?page=3
RIT.2514000 | Rittal | Plastic wiring plan pocket | SZ Plastic circuit diagram pocket, DIN A4, portrait | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.2514000/id-421311?page=3
RIT.8205500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1200x2000x500 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8205500/id-424182?page=3
RIT.4591700 | Rittal | Mounting plate infill | VX mounting plate spacer, for VX, TS, H: 2000 mm | Mechanics > Housing > Mounting panels | https://dataportal.eplan.com/part-details/Rittal/RIT.4591700/id-423701?page=3
RIT.8805500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 800x2000x500 mm, Sheet steel, with mounting plate, single door at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8805500/id-424216?page=3
RIT.8084500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1000x1800x400 mm, Sheet steel, with mounting plate, single door at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8084500/id-424180?page=3
RIT.4540000 | Rittal | Combination angle | SZ Combination bracket | Mechanics > Housing accessories, external extension > General | https://dataportal.eplan.com/part-details/Rittal/RIT.4540000/id-421710?page=3
RIT.1055000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 800x600x300 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1055000/id-995173?page=3
RIT.1050500 | Rittal | Compact enclosures AE / AE Compact enclosure, WHD: 500x500x210 mm, Sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1050500/id-423472?page=3
PXC.3209536 | Phoenix Contact | Ground terminal block / Protective conductor terminal block | Protective conductor terminal block, number of connections: 2, connection method: Push-in connection, cross section: 0.14 mm² - 4 mm², mounting type: NS 35/7,5, NS 35/15, color: green-yellow | Electrical engineering > Terminals > Terminal | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3209536/id-418080?page=4
RIT.2515000 | Rittal | Plastic wiring plan pocket | SZ Plastic circuit diagram pocket, DIN A5, landscape | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.2515000/id-421315?page=4
RIT.1060500 | Rittal | Compact enclosures AE / AE Compact enclosure, WHD: 600x600x210 mm, Sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1060500/id-423477?page=4
SE.GVAE11 | Schneider Electric | TeSys GVAE11 - auxiliary contact - 1 NO + 1 NC / 1 NO + 1 NC | TeSys GVAE11 - auxiliary contact - 1 NO + 1 NC | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.GVAE11/id-429710?page=4
RIT.1199100 | Rittal | Baying kit / SZ Baying kit, for KL, AE, HD: 800x350 mm | None | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.1199100/id-559100?page=4
RIT.3238100 | Rittal | TopTherm fan-and-filter units / SK fan and filter units TopTherm, 55/66 m³/h, 230 V, 1~, 50/60 Hz, WHD: 148.5 x 148.5 x 16 mm | None | Electrical engineering > Motors > General | https://dataportal.eplan.com/part-details/Rittal/RIT.3238100/id-420935?page=4
RIT.2510000 | Rittal | Wiring plan pocket with transparent pouch | SZ Circuit diagram pocket with transparent pocket, DIN A4 | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.2510000/id-421307?page=4
RIT.8886000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 800x1800x600 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8886000/id-933986?page=4
RIT.8285500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1200x1800x500 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8285500/id-424190?page=4
RIT.1380000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 380x380x210 mm, sheet steel, with mounting plate, single-door, with one cam lock | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1380000/id-995207?page=4
RIT.1039000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 600x380x210 mm, sheet steel, with mounting plate, single-door, with one cam lock | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1039000/id-995169?page=4
RIT.2512000 | Rittal | Wiring plan pocket with transparent pouch | SZ Circuit diagram pocket with transparent pocket, DIN A3 | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.2512000/id-421309?page=4
RIT.8808000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 800x2000x800 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8808000/id-933977?page=4
SE.ZBE101 | Schneider Electric | Harmony XB5 1NO contact | Harmony XB5 1NO contact | Electrical engineering > Sensor, switch, and pushbutton > Switch / pushbutton | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.ZBE101/id-598788?page=4
RIT.8080000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1000x1800x400 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8080000/id-933719?page=4
SIE.6ES7521-1BL00-0AB0 | Siemens | S7-1500, DI 32X24VDC HF | SIMATIC S7-1500, DIGITAL INPUT MODULE DI 32xDC 24V HF, 32 CHANNELS IN GROUPS OF 16/ INPUT DELAY 0.05... 20MS/ INPUT TYPE 3 (IEC 61131)/ DIAGNOSIS, PROCESSALARMS | Electrical engineering > PLC > PLC input card digital | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7521-1BL00-0AB0/id-707559?page=4
SIE.3RH2911-1HA22 | Siemens | AUX. SWITCH BLOCK , 2NO+2NC COND. PATHS: 1NC, 1NC, / 1NO, 1NO, F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK , 2NO+2NC COND. PATHS: 1NC, 1NC, 1NO, 1NO, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1HA22/id-451494?page=4
RIT.8617501 | Rittal | Baying block, internal | VX Baying block, internal | Mechanics > Housing accessories, external extension > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8617501/id-933807?page=4
RIT.3239100 | Rittal | TopTherm fan-and-filter units / SK fan and filter units TopTherm, 105/120 m³/h, 230 V, 1~, 50/60 Hz, WHD: 204 x 204 x 24 mm | None | Electrical engineering > Motors > General | https://dataportal.eplan.com/part-details/Rittal/RIT.3239100/id-420939?page=4
RIT.4568000 | Rittal | Eyebolts | SZ Transport eyelet, for VX, TS, SE, sheet steel, galvanized | Mechanics > Housing accessories, external extension > General | https://dataportal.eplan.com/part-details/Rittal/RIT.4568000/id-421711?page=4
RIT.1033000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 300x300x210 mm, sheet steel, with mounting plate, single-door, with one cam lock | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1033000/id-995165?page=5
RIT.1058000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 600x800x250 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1058000/id-995175?page=5
RIT.8618200 | Rittal | Comfort Handle for VX, VX IT | VX Comfort handle, for lock inserts, RAL 7035 | Mechanics > Lock systems > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8618200/id-933835?page=5
RIT.8604000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 600x2000x400 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8604000/id-933764?page=5
RIT.8284000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1200x1800x400 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8284000/id-933749?page=5
WEI.1020000000 | Weidmueller | Feed-through terminal block / Feed-through terminal block, Screw connection, 2.5 mm², 800 V, 24 A, Number of connections: 2 | Terminal block for connecting or joining conductors with permanently secure contact. Hardened steel withstands the mechanical forces, tin-coated copper ensures top conductivity. | Electrical engineering > Terminals > Terminal | https://dataportal.eplan.com/part-details/Weidmueller/WEI.1020000000/id-505825?page=5
RIT.8684000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 600x1800x400 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8684000/id-933965?page=5
RIT.1180500 | Rittal | Compact enclosures AE / AE Compact enclosure, WHD: 800x1000x300 mm, Sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1180500/id-423486?page=5
RIT.4118000 | Rittal | Wiring plan pocket of sheet steel | SZ Wiring diagram pockets, for VX, TS, VX SE, PC, TP lower section, sheet steel, for door width: 800 mm, D: 90 mm | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.4118000/id-421648?page=5
RIT.8084000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1000x1800x400 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8084000/id-933720?page=5
RIT.2584100 | Rittal | Pole clamp | AX Pole clamp | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.2584100/id-1016655?page=5
SIE.3RH2911-1FA22 | Siemens | AUX.SWITCH BLOCK,FRONT,2NO+2NC, CURR.PATH: 1NO, 1NC, 1NC, 1NO, / F. CONT. RELAYS A. MOTOR CONT., SZ S00 AND S0, / SCREW TERMINAL .3 / .4,.1 / .2,.1 / .2,.3 / .4 | AUX.SWITCH BLOCK,FRONT,2NO+2NC, CURR.PATH: 1NO, 1NC, 1NC, 1NO, F. CONT. RELAYS A. MOTOR CONT., SZ S00 AND S0, SCREW TERMINAL .3 / .4,.1 / .2,.1 / .2,.3 / .4 | Electrical engineering > General > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1FA22/id-703958?page=5
RIT.1073000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 760x760x300 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1073000/id-995178?page=5
RIT.8884500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 800x1800x400 mm, Sheet steel, with mounting plate, single door at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8884500/id-424225?page=5
RIT.1280000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 800x1200x300 mm, sheet steel, with mounting plate, single-door, with 3-point lock system | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1280000/id-995195?page=5
SIE.6ES7155-6AA01-0BN0 | Siemens | ET 200SP, IM155-6PN ST INCL. BA 2XRJ45 / SIMATIC DP, ET 200SP | SIMATIC ET 200SP, PROFINET bundle IM, IM 155-6PN ST, max. 32 I/O modules and 16 ET 200AL modules, single hot swap, bundle consists of: Interface module (6ES7155-6AU01-0BN0), Server module (6ES7193-6PA00-0AA0), BusAdapter BA 2xRJ45 (6ES7193-6AR00-0AA0) | Electrical engineering > PLC > General | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7155-6AA01-0BN0/id-936596?page=5
RIT.2500460 | Rittal | Door-operated switch / SZ Door-operated switch, with connection wire, L: 800 mm, black | None | Electrical engineering > Sensor, switch, and pushbutton > Switch / pushbutton | https://dataportal.eplan.com/part-details/Rittal/RIT.2500460/id-647723?page=5
PXC.3209578 | Phoenix Contact | Feed-through terminal block / Feed-through terminal block | Feed-through terminal block, nom. voltage: 800 V, nominal current: 24 A, number of connections: 4, connection method: Push-in connection, Rated cross section: 2.5 mm², cross section: 0.14 mm² - 4 mm², mounting type: NS 35/7,5, NS 35/15, color: gray | Electrical engineering > Terminals > Terminal | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3209578/id-418084?page=5
PXC.0800886 | Phoenix Contact | End bracket for terminal block / End bracket | End bracket, material: PA, color: gray | Electrical engineering > Terminals > End clamp | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.0800886/id-399327?page=5
PXC.3030417 | Phoenix Contact | End and partition plate for terminal block / End cover | End cover, depth: 29.1 mm, width: 2.2 mm, height: 48.6 mm, color: gray | Electrical engineering > Terminals > Partition | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3030417/id-416064?page=5
RIT.8284500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1200x1800x400 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8284500/id-424189?page=6
SE.ZBE102 | Schneider Electric | Harmony XB5 1NC contact | Harmony XB5 1NC contact | Electrical engineering > Sensor, switch, and pushbutton > Switch / pushbutton | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.ZBE102/id-598789?page=6
RIT.4116000 | Rittal | Wiring plan pocket of sheet steel | SZ Wiring diagram pockets, for VX, TS, VX SE, PC, TP lower section, sheet steel, for door width: 600 mm, D: 90 mm | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.4116000/id-421646?page=6
SIE.3RV2901-2E | Siemens | TRANSVERSE AUX. SWITCH, 1NO+1NC, SPRING-L. CONNECTION / FOR CIRCUIT-BREAKERS, SZ S00/S0 | TRANSVERSE AUX. SWITCH, 1NO+1NC, SPRING-L. CONNECTION, FOR CIRCUIT-BREAKERS, SZ S00/S0 , | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RV2901-2E/id-453089?page=6
RIT.1110000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 1000x1000x300 mm, sheet steel, with mounting plate, two-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1110000/id-995184?page=6
RIT.8618250 | Rittal | Comfort Handle for VX, VX IT | VX Comfort handle, for semi-cylinder, RAL 7035 | Mechanics > Lock systems > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8618250/id-933838?page=6
SIE.3RV2925-5AB | Siemens | 3-PHASE INFEED TERMINAL SZ S0/S00 | 3-PHASE INFEED TERMINAL, FOR 3-PHASE BUSBARS, CONNECTION FROM ABOVE, SIZE S00/S0 | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RV2925-5AB/id-724983?page=6
RIT.2537100 | Rittal | Mini-comfort handle AX / AX Mini-comfort handle, for AX and KX with cam, for lock inserts or semi-cylinders | None | Mechanics > Lock systems > General | https://dataportal.eplan.com/part-details/Rittal/RIT.2537100/id-995339?page=6
RIT.8617502 | Rittal | Baying connector, external | VX Baying connector, external, sheet steel, zinc-plated | Mechanics > Housing accessories, external extension > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8617502/id-933808?page=6
SE.ZB4BZ009 | Schneider Electric | metal fixing collar pillar for electrical block | None | Mechanics > General > General | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.ZB4BZ009/id-598805?page=6
SE.A9A26924 | Schneider Electric | Auxiliary contact iOF, iC60 | Auxiliary contact iOF, iC60 | Electrical engineering > Protection devices > Circuit breaker | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.A9A26924/id-433501?page=6
SIE.3RH2911-1FA40 | Siemens | AUX. SWITCH BLOCK , 4NO COND. PATHS: 1NO, 1NO, / 1NO, 1NO F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK , 4NO COND. PATHS: 1NO, 1NO, 1NO, 1NO F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1FA40/id-451476?page=6
RIT.1054500 | Rittal | Compact enclosures AE / AE Compact enclosure, WHD: 600x600x250 mm, Sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1054500/id-423473?page=6
PXC.3030161 | Phoenix Contact | Cross-connector for terminal block / Plug-in bridge | Plug-in bridge, pitch: 5.2 mm, number of positions: 2, length: 23 mm, color: red | Electrical engineering > Terminals > Cross-connector | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3030161/id-416044?page=6
RIT.8226000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 1200x2200x600 mm, sheet steel, with mounting plate, two doors at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8226000/id-933746?page=6
SIE.3RV2011-0FA15 | Siemens | CIRCUIT-BREAKER SCREW CONNECTION 0.5A / SIRIUS Circuit breaker | CIRCUIT-BREAKER SZ S00, FOR MOTOR PROTECTION, CLASS 10, A-REL. 0.35...0.5A, N-RELEASE6.5A SCREW CONNECTION, STANDARD SW. CAPACITY, W. TRANSVERSE AUX. SWITCH 1NO+1NC | Electrical engineering > Protection devices > Motor overload switch | https://dataportal.eplan.com/part-details/Siemens/SIE.3RV2011-0FA15/id-452734?page=6
RIT.1350000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 500x500x300 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1350000/id-995204?page=6
SIE.3RH2911-1HA11 | Siemens | AUX. SWITCH BLOCK , 1NO+1NC COND. PATHS: 1NC, 1NO / F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, / SCREW TERMINAL DIN EN 50012 AND DIN EN 50005 | AUX. SWITCH BLOCK , 1NO+1NC COND. PATHS: 1NC, 1NO F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, SCREW TERMINAL, DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1HA11/id-451489?page=6
SIE.5ST3011 | Siemens | SENTRON Auxiliary current switch Mountable | Auxiliary current switch 2 NO for circuit breaker 5SL, 5SY, 5SP Incorporated switch 5TL1, RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3011/id-1147448?page=6
RIT.8618270 | Rittal | Comfort Handle for VX, VX IT | VX Comfort handle, prepared for ASSA lock system | Mechanics > Lock systems > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8618270/id-942312?page=6
SE.LADN22 | Schneider Electric | Auxiliary contact block TeSys - 2 NO + 2 NC,screw-clamps terminals | Auxiliary contact block TeSys - 2 NO + 2 NC,screw-clamps terminals | Electrical engineering > Relays, contactors > Auxiliary block | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.LADN22/id-429931?page=7
RIT.3304500 | Rittal | TopTherm wall-mounted cooling unit Blue e / SK cooling unit Blue e, wall-mounted, 1.1 kW, 230 V, 1~, 50/60 Hz, Sheet steel, WHD: 400 x 950 x 260 mm | None | None | https://dataportal.eplan.com/part-details/Rittal/RIT.3304500/id-420963?page=7
RIT.2505510 | Rittal | Wall angle / SZ Wall angle | None | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.2505510/id-559108?page=7
SE.GV2ME08 | Schneider Electric | Motor circuit breaker, TeSys Deca, 3P, 2.5-4 A, thermal magnetic, screw clamp terminals | Motor circuit breaker, TeSys Deca, 3P, 2.5-4 A, thermal magnetic, screw clamp terminals | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.GV2ME08/id-429604?page=7
SIE.5ST3012 | Siemens | SENTRON Auxiliary current switch Mountable | auxiliary current switch, 2 NC for miniature circuit breaker 5SL, 5SY, 5SP Incorporated switch 5TL1, RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3012/id-1147450?page=8
SIE.3RA2814-1FW10 | Siemens | HS OFF-DELAY UC24-240V 0.05-100S / SIRIUS auxiliary switch / off-delayed with auxiliary voltage | SOLID-STATE TIME-DELAY AUXILIARY SWITCH, OFF-DELAY WITH AUXILIARY VOLTAGE RELAY 1 NC + 1 NO 24...240V AC/DC TIME RANGE 0.05...100S FOR SNAPPING ONTO THE FRONT/ FOR 3RT2 S00-S2 CONTACTORS SCREW TERMINALS INTEGRATED VARISTOR FOR DAMPING CONTACTOR COILS | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RA2814-1FW10/id-450931?page=8
SIE.6EP1334-2BA20 | Siemens | SITOP PSU100S 1ph 24 V/10 A | SITOP PSU100S 24 V/10 A STABILIZED POWER SUPPLY INPUT: AC 120/230 V OUTPUT: DC 24 V/10 A *EX APPROVAL NO LONGER AVAILABLE* | None | https://dataportal.eplan.com/part-details/Siemens/SIE.6EP1334-2BA20/id-459161?page=9
SIE.5ST3013 | Siemens | SENTRON Auxiliary current switch Mountable | auxiliary current switch, low power rating 1 NO+1 NC for miniature circuit breaker 5SL, 5SY, 5SP Incorporated switch 5TL1, RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3013/id-1147452?page=9
SIE.3RH2911-1AA01 | Siemens | AUX. SWITCH BLOCK , 1NC COND. PATHS: 1NC, / CONNECTION FROM ABOVE F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK , 1NC COND. PATHS: 1NC, CONNECTION FROM ABOVE F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1AA01/id-451468?page=9
SIE.3RA2815-2FW10 | Siemens | HS OFF-DELAY UC24-240V 0.05-100S / SIRIUS auxiliary switch / off-delayed without auxiliary voltage | SOLID-STATE TIME-DELAY AUXILIARY SWITCH, OFF-DELAY WITHOUT AUXILIARY VOLTAGE RELAY 1 NC + 1 NO 24...240V AC/DC TIME RANGE 0.05...100S FOR SNAPPING ONTO THE FRONT/ FOR 3RT2 S00-S2 CONTACTORS SPRING-TYPE TERMINALS INTEGRATED VARISTOR FOR DAMPING CONTACTOR COILS | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RA2815-2FW10/id-450937?page=9
SIE.3RA2711-1AA00 | Siemens | DIRECT STARTER FOR IO-LINK / Sirius function module/basic module for direct start with IO-Link / direct starter function | FUNCTION MODULE FOR IO-LINK, DIRECT START, SCREW CONNECTION, MOUNTED ON CONTACTORS 3RT2 S0 COMM. CAPABLE CONTACTOR REQUIRED | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RA2711-1AA00/id-462206?page=9
SE.ZB4BZ101 | Schneider Electric | single contact block with body/fixing collar 1NO screw clamp termil | None | None | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.ZB4BZ101/id-598693?page=9
RIT.4127010 | Rittal | Door-operated switch / SZ Door-operated switch, with accessory for interior installation, without connection cable | None | Electrical engineering > Sensor, switch, and pushbutton > General | https://dataportal.eplan.com/part-details/Rittal/RIT.4127010/id-559075?page=9
RIT.9340000 | Rittal | Busbar supports flat copper busbars / SV Busbar support, 3-pole, 60 mm bar centre distance, for busbar WH: 12x5-30x10 mm | None | None | https://dataportal.eplan.com/part-details/Rittal/RIT.9340000/id-422380?page=9
SIE.3SU1400-1AA10-1BA0 | Siemens | CONTACT MODULE 1NO / SIRIUS ACT Contact module / Contact module | Contact module with 1 contact element, 1 NO, screw terminal, for front plate mounting | None | https://dataportal.eplan.com/part-details/Siemens/SIE.3SU1400-1AA10-1BA0/id-521969?page=9
SIE.3RH2914-2GP11 | Siemens | INTERFACE FOR 3RT2, 24VDC GATING / SIRIUS | COUPLING LINK FOR MOUNTING ONTO AC,DC,AC/DC CONTACTORS 3RT2 S00-S2, 24V DC CONTROL SPRING CONNECTION | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2914-2GP11/id-703995?page=9
RIT.8080500 | Rittal | Baying systems TS 8 / TS Bayed enclosure system, WHD: 1000x1800x400 mm, Sheet steel, with mounting plate, two doors at the front. | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8080500/id-424179?page=9
SIE.3RH2911-1FB22 | Siemens | AUX. SWITCH BLOCK 11U, 2NO+2NC COND. PATHS: 1NO, 1NC, / 1NC, 1NO, F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK 11U, 2NO+2NC COND. PATHS: 1NO, 1NC, 1NC, 1NO, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1FB22/id-451478?page=9
SIE.3RH2911-1HA01 | Siemens | AUX. SWITCH BLOCK , 1NC COND. PATHS: 1NC, / F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, / SCREW TERMINAL DIN EN 50012 AND DIN EN 50005 | AUX. SWITCH BLOCK , 1NC COND. PATHS: 1NC, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, SCREW TERMINAL, DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1HA01/id-451485?page=9
SIE.3RA2811-1CW10 | Siemens | TIME RELAY, ON-DELAY / SIRIUS timing relay / slow-operating | SOLID-STATE TIME RELAY ON-DELAY WITH SEMICONDUCTOR OUTPUT 24...240V AC/DC, TIME RANGE 0.05...100S, FOR SNAPPING ONTO THE FRONT, FOR 3RT2 CONTACTORS S00/S0 SCREW TERMINALS INTEGRATED VARISTOR FOR DAMPING CONTACTOR COILS | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RA2811-1CW10/id-450922?page=9
SIE.3RH2911-1HA12 | Siemens | AUX. SWITCH BLOCK , 1NO+2NC COND. PATHS: 1NC, 1NC, / 1NO, F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK , 1NO+2NC COND. PATHS: 1NC, 1NC, 1NO, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1HA12/id-451490?page=9
SIE.6ES7522-1BL01-0AB0 | Siemens | S7-1500, DQ 32X24VDC/0.5A HF | SIMATIC S7-1500, DIGITAL OUTPUT MODULE DQ 32 X 24V DC/0.5A HF/ 32 CHANNELS IN GROUPS OF 8, 4 A PER GROUP/ SINGLE-CHANNEL DIAGNOSIS/ SUBSTITUTE VALUE | Electrical engineering > PLC > PLC output card digital | https://dataportal.eplan.com/part-details/Siemens/SIE.6ES7522-1BL01-0AB0/id-707568?page=9
SIE.3RH2911-2FA22 | Siemens | AUX.SWITCH BLOCK,FRONT,2NO+2NC, CURR.PATH: 1NO, 1NC, 1NC, 1NO, / F. CONT. RELAYS A. MOTOR CONT., SZ S00 AND S0, / SPRING-LOADED TERMINAL .3 / .4,.1 / .2,.1 /.2,.3 / .4 | AUX.SWITCH BLOCK,FRONT,2NO+2NC, CURR.PATH: 1NO, 1NC, 1NC, 1NO, F. CONT. RELAYS A. MOTOR CONT., SZ S00 AND S0, SPRING-LOADED TERMINAL .3 / .4,.1 / .2,.1 /.2,.3 / .4 | Electrical engineering > General > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-2FA22/id-703982?page=9
SIE.3RH2914-1GP11 | Siemens | INTERFACE FOR 3RT2, 24VDC GATING / SIRIUS | COUPLING LINK FOR MOUNTING ONTO AC,DC,AC/DC CONTACTORS 3RT2 S00-S2, 24V DC CONTROL SCREW CONNECTION | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2914-1GP11/id-703994?page=9
SIE.5ST3020 | Siemens | SENTRON Fault signal contact Mountable | Fault signal contact 1 NO+1 NC, for miniature circuit breaker 5SL, 5SY, 5SP RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | None | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3020/id-1147458?page=9
RIT.4118500 | Rittal | Wiring plan pocket of sheet steel | SZ Wiring diagram pockets, for VX, TS, VX SE, PC, TP lower section, sheet steel, for door width: 800 mm, D: 35 mm | Mechanics > Housing > Accessories | https://dataportal.eplan.com/part-details/Rittal/RIT.4118500/id-421649?page=9
SIE.3RH2911-1FC22 | Siemens | AUX. SWITCH BLOCK 22U, 2NO+2NC COND. PATHS: 1NO, 1NO, / 1NC, 1NC, F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK 22U, 2NO+2NC COND. PATHS: 1NO, 1NO, 1NC, 1NC, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL DIN EN 50005 | None | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1FC22/id-451479?page=10
SIE.5ST3014 | Siemens | SENTRON Auxiliary current switch Mountable | Auxiliary current switch low power rating, 2 NO for miniature circuit breaker 5SL, 5SY, 5SP Incorporated switch 5TL1, RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3014/id-1147454?page=10
SIE.3RH2911-2HA11 | Siemens | AUX. SWITCH BLOCK , 1NO+1NC COND. PATHS: 1NC, 1NO / F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, / SPRING-LOADED TERMINAL DIN EN 50012 AND DIN EN 50005 | AUX. SWITCH BLOCK , 1NO+1NC COND. PATHS: 1NC, 1NO F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, SPRING-LOADED TERMINAL, DIN EN 50012 AND DIN EN 50005 | None | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-2HA11/id-451522?page=10
SIE.3RV2901-2A | Siemens | LATERAL AUXILIARY SWITCH 1NO+1NC, SPRING-L. CONNECTION / FOR CIRCUIT-BREAKERS, SZ S00/S0 | LATERAL AUXILIARY SWITCH 1NO+1NC, SPRING-L. CONNECTION, FOR CIRCUIT-BREAKERS, SZ S00/S0 , | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RV2901-2A/id-453086?page=10
SIE.3RH2911-1HA20 | Siemens | AUX. SWITCH BLOCK , 2NO COND. PATHS: 1NO, 1NO, / F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, / SCREW TERMINAL DIN EN 50012 AND DIN EN 50005 | AUX. SWITCH BLOCK , 2NO COND. PATHS: 1NO, 1NO, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, SCREW TERMINAL, DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1HA20/id-451492?page=10
SIE.3RH2911-2HA31 | Siemens | AUX. SWITCH BLOCK , 3NO+1NC COND. PATHS: 1NC, 1NO, / 1NO, 1NO, F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SPRING-LOADED TERMINAL | AUX. SWITCH BLOCK , 3NO+1NC COND. PATHS: 1NC, 1NO, 1NO, 1NO, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SPRING-LOADED TERMINAL DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-2HA31/id-451529?page=10
RIT.1031000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 380x300x210 mm, sheet steel, with mounting plate, single-door, with one cam lock | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1031000/id-995164?page=10
SIE.3RH2911-1HA10 | Siemens | AUX. SWITCH BLOCK , 1NO COND. PATHS: 1NO, / F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, / SCREW TERMINAL DIN EN 50012 AND DIN EN 50005 | AUX. SWITCH BLOCK , 1NO COND. PATHS: 1NO, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, SCREW TERMINAL, DIN EN 50012 AND DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1HA10/id-451488?page=10
SIE.3RA2711-1BA00 | Siemens | REVERSING STARTER W. IO-LINK / Sirius function module for reversing start with IO-Link / reversing starter function | FUNCTION MODULE FOR IO-LINK, REVERSING START, SCREW CONNECTION, MOUNTED ON CONTACTORS 3RT2 S0 COMM. CAPABLE CONTACTOR REQUIRED | None | https://dataportal.eplan.com/part-details/Siemens/SIE.3RA2711-1BA00/id-462207?page=10
SIE.3RH2911-1XA40-0MA0 | Siemens | AUX. SWITCH BLOCK, 4NO / SIRIUS Auxiliary switch, for snapping onto the front, with SUVA approval | AUX.SWITCH BLOCK,FRONT,4NO, CURR.PATH: 1NO, 1NO, 1NO, 1NO, SPECIAL VARIANTS FOR 3RT2 SCREW TERMINAL 53 / 54/63 / 64/73 / 74/83 / 84 DIN EN 50005 | None | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1XA40-0MA0/id-703980?page=10
RIT.1380500 | Rittal | Compact enclosures AE / AE Compact enclosure, WHD: 380x380x210 mm, Sheet steel, with mounting plate, single-door, with one cam lock | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1380500/id-423503?page=10
SE.LADN11 | Schneider Electric | Auxiliary contact block TeSys - 1 NO + 1 NC,screw-clamps terminals | Auxiliary contact block TeSys - 1 NO + 1 NC,screw-clamps terminals | Electrical engineering > Relays, contactors > Auxiliary block | https://dataportal.eplan.com/part-details/Schneider%20Electric/SE.LADN11/id-429914?page=10
RIT.1360000 | Rittal | Compact enclosure AX / AX Compact enclosure, WHD: 600x600x350 mm, sheet steel, with mounting plate, single-door, with two cam locks | None | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.1360000/id-995205?page=10
SIE.5ST3015 | Siemens | SENTRON Auxiliary current switch Mountable | Auxiliary current switch low power rating, 2 NC for miniature circuit breaker 5SL, 5SY, 5SP Incorporated switch 5TL1, RCBO 5SU1, FI 5SV (for 5SU1 handle coupler 5ST3805-1 is required) | Electrical engineering > Protection devices > General | https://dataportal.eplan.com/part-details/Siemens/SIE.5ST3015/id-1147456?page=10
SIE.3RH2911-1XA31-0MA0 | Siemens | AUX. SWITCH BLOCK, 3NO+1NC / SIRIUS Auxiliary switch, for snapping onto the front, with SUVA approval | AUX.SWITCH BLOCK,FRONT,3NO+1NC, CURR.PATH: 1NO, 1NC, 1NO, 1NO, SPECIAL VARIANTS FOR 3RT2 SCREW TERMINAL 53 / 54,61 / 62,73 / 74,83 / 84 DIN EN 50011 | Electrical engineering > Relays, contactors > Auxiliary block | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1XA31-0MA0/id-703979?page=10
PXC.3030174 | Phoenix Contact | Cross-connector for terminal block / Plug-in bridge | Plug-in bridge, pitch: 5.2 mm, number of positions: 3, length: 23 mm, color: red | Electrical engineering > Terminals > Cross-connector | https://dataportal.eplan.com/part-details/Phoenix%20Contact/PXC.3030174/id-416045?page=10
RIT.8685000 | Rittal | Baying enclosure system VX25 | VX Baying enclosure system, WHD: 600x1800x500 mm, sheet steel, with mounting plate, single door at the front | Mechanics > Enclosure > General | https://dataportal.eplan.com/part-details/Rittal/RIT.8685000/id-933966?page=10
SIE.3RH2911-1FB11 | Siemens | AUX. SWITCH BLOCK 11U, 1NO+1NC COND. PATHS: 1NO, 1NC, / F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, / SCREW TERMINAL DIN EN 50005 | AUX. SWITCH BLOCK 11U, 1NO+1NC COND. PATHS: 1NO, 1NC, F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0, SCREW TERMINAL, DIN EN 50005 | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1FB11/id-451477?page=10
SIE.3RT2916-1BB00 | Siemens | SURGE SUPPRESSOR, VARISTOR, / AC 24...48V, DC 24...70V, F. CONT. RELAYS A. MOTOR CONT. / SZ S00, | SURGE SUPPRESSOR, VARISTOR, AC 24...48V, DC 24...70V, F. CONT. RELAYS A. MOTOR CONT. SZ S00,, | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RT2916-1BB00/id-705893?page=10
SIE.3RH2911-1BA10 | Siemens | AUX. SWITCH BLOCK , 1NO COND. PATHS: 1NO, / CONNECTION FROM BELOW F. CONT. RELAYS A. MOTOR CONT. / SZ S00 AND S0, SCREW TERMINAL | AUX. SWITCH BLOCK , 1NO COND. PATHS: 1NO, CONNECTION FROM BELOW F. CONT. RELAYS A. MOTOR CONT. SZ S00 AND S0,, SCREW TERMINAL | Electrical engineering > Relays, contactors > General | https://dataportal.eplan.com/part-details/Siemens/SIE.3RH2911-1BA10/id-451471?page=10